## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 South Magdalene
Consett
County Durham
DH8 6RH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-42723
DATE OF REPORT: 09/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42723
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 12 South Magdalene
Consett
County Durham
DH8 6RH
Carried Out On | 09/02/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Investigate energey usage

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42723
SECTION 3: Report
Tested gas all ok. Tested the boiler in high and low burn tested ok. Gas rated the boiler all ok. Explained to the tenant that all readings were correct and everything is working as it should went over boiler controls again. I think what’s happened is she has heard how efficient the boiler is she maybe wanted to see how efficient so maybe left it on for the last two weeks and the gas ran out this morning she has used £100.00 in two weeks that would be about right if it’s been on a lot during the day.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42723
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42723
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42723
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42723
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42723
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes