## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Clifton Walk
Beaumont Drive
Whitley Bay
NE25 9UU
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-42787
DATE OF REPORT: 21/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42787
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 4 Clifton Walk
Beaumont Drive
Whitley Bay
NE25 9UU
Carried Out On | 13/02/2024
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
The heating/hot water is working okay - the combi boiler pressure gage is on red which means the heating/hot water is going to turn off - please check and repair.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42787
SECTION 3: Report
PS 13-02-24 Pressure low, expansion vessel was at 0.4 bar charge. Drained down, repressurised Expansion vessel and monitored for 10 mins to confirm bladder integrity. No signs of the PRV terminal discharge. Topped up the boiler and tested. All working on departure.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42787
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes