## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Hopper Street
Easington Village
Peterlee
SR8 3DZ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-42789
DATE OF REPORT: 13/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42789
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 5 Hopper Street
Easington Village
Peterlee
SR8 3DZ
Carried Out On | 13/02/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
FOW from OOh repair - fruther investigation needed, possible under floor leak

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42789
SECTION 3: Report
Drained boiler and checked both expansion vessels. Went out and picked up a leak sealer and added to the system filled and tested working ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42789
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42789
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42789
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42789
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42789
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes