## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Foxcover Court
Parkside
Seaham
SR7 7PX
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-42792
DATE OF REPORT: 13/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42792
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 17 Foxcover Court
Parkside
Seaham
SR7 7PX
Carried Out On | 13/02/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Report of no heating or hot water Investigate report of no heating or hot water. Test appliances, controls and components. Rectify minor faults. Fill, vent and test correct operation of system.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42792
SECTION 3: Report
The expansion hose was folded over on itself so the hot water would have had no where to expand to. Re routed expansion pipe and tested working ok. Photos sent to admin.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes