## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rosebank Hall ( Flat 34 )
Willington Terrace
Wallsend
NE28 7BT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-42944
DATE OF REPORT: 21/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-42944
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rosebank Hall ( Flat 34 )
Willington Terrace
Wallsend
NE28 7BT
Carried Out On | 15/02/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
2 pipes feeding water meters leaking tried tightening pipework etc,still leaking - remove water meters.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-42944
SECTION 3: Report
Ct 15/2/24 Diagnosed leaks on water meter on heating pipe and on hot water. Isolated at local isolation valves and cut out. On turning hot water valve on it has snapped off in my hand so I have isolated sites hot water and replaced valve. Turning water back on to site and pulling through. Materials 1x 22mm slip 90 xpress 1x 22mm 90 xpress 1x 22mm slip con xpress 1x 22mm con xpress 1x 15mm xpress slip con 1x 15mm nut and ring 1x 22mm xpress lever valve 1m 15mm copper 1m 22mm copper

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-42944
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42944
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42944
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42944
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-42944
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes