## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 foxcover court
Parkside
County Durham
SR7 7PX
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-43040
DATE OF REPORT: 17/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43040
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 17 foxcover court
Parkside
County Durham
SR7 7PX
Carried Out On | 17/02/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No heating and hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43040
SECTION 3: Report
PN 17/2/24 Low pressure on boiler 4th time since boiler was installed No visible leaks Expansion pressure good Checked prv no signs of water dripping Added fernox f4 leak sealer into system Topped system up Heating and hot water working

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43040
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43040
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43040
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43040
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43040
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes