## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Moorcroft ( Plant Room )
Bowman Drive
Dudley
NE23 7FF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-43044
DATE OF REPORT: 21/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43044
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Moorcroft ( Plant Room )
Bowman Drive
Dudley
NE23 7FF
Carried Out On | 19/02/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Pressurisation unit showing 'Fail'

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43044
SECTION 3: Report
Ct 19/2/24 Attened site pump not working on pressuration unit tested and stripped still not working. Spoke to D.h got told to fit a new one. Drove to byker to pick new one up. Drained down and isolated old one. Fitted new one to wall and altered pipe work to suit. Rewired and tested everything working correctly. Materials 1x microfil pressuration unit asked them to email nick price. 1m 15mm pipe 2x 15mm xpress lever valves 3x 15mm xpress 90 2x overflow 90 1x overflow tundish

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43044
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43044
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43044
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43044
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43044
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes