## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Brownsea Place ( Flat 30 )
Sheriff Hill
Gateshead
NE9 5PZ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 24-43089
DATE OF REPORT: 21/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43089
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Brownsea Place ( Flat 30 )
Sheriff Hill
Gateshead
NE9 5PZ
Carried Out On | 20/02/2024
Survey Completed By | Jason White
SECTION 2: Introduction
Please investigate hw temps at all outlets in Flats 15, 19, 24, 30

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43089
SECTION 3: Report
Jw 20-2-24 Flat 30 kitchen flow rate 6lpm 43.4 degrees Bathroom flow rate 6lpm 42.6 degrees Flat 31 Kitchen flow rate 9lpm 41.7degrees Bathroom flow rate 12lpm 43.4 degrees Flat 29 Kitchen flow rate 12lpm 44.1degrees Bathroom flow rate 12lpm 43.8 degrees Flat 19 Kitchen flow rate 12lpm 48.7degrees Bathroom flow rate 12lpm 47.9 degrees Flat 15 Kitchen flow rate 12lpm 49.8degrees tmv has been removed Bathroom flow rate 12lpm 47.5 degrees Flat 24 Kitchen flow rate 12lpm 44.2degrees Bathroom flow rate 12lpm 44.1 degrees Tmv specs are temp range between 30-48 degrees and will work with a flow rate as low as 1lpm but no info on what flow rate should be as a average Flow rate in flat 30 is slow temp is fine

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes