## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Holborn House ( Flat 1 )
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-43097
DATE OF REPORT: 13/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43097
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Holborn House ( Flat 1 )
Commercial Road
South Shields
NE33 1EA
Carried Out On | 20/02/2024, 22/02/2024, 05/03/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
kitchen area pasage and sitting room rads cold only bedroom and bathroom rads working

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43097
SECTION 3: Report
Ct 5/3/24 Attended at 1 clock no answer rang mobile says she didn’t have an appointment so arranged to go back at 14:30 as she was out. Still no answer up till 14.45 Gained access at 15/00. There is no power going to room stay to open heating actuator inside hiu unit attempted to get power out still no look stats and zone valves working. Put no power to open actuator for heating. Wasn’t aloud access to bedroom to try sort wiring would advise next visit to be occupied with support officer Heating is manually opened explained to Tennant and mother how to use trvs and turned kitchen rad off as no trv to control Fow required Needs either or electricians to attend or passed back to Karbon to get electrics right

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43097
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43097
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43097
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43097
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43097
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes