## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-37 Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-43142
DATE OF REPORT: 22/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43142
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-37 Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 22/02/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
There is a heating issue in the lounges Lounge 1 the heating is not working well the room is always cold. Lounge 2 is cold the heating is not working at all lounge 3 the heating is not working and lounge four which is above lounge 2 is so hot no one is able to use it.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43142
SECTION 3: Report
Common room 4 had a 22mm straight trv is passing New trv needed Common room 2 is sorted trv wasn’t screwed down tightened and tested working ok. 3 requires new trv and thermostat ( damper proof danfoss stat if possible) 1 requires a new fan for the Dunham- Bush unit Pictures sent to admin.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes