## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Ealing Square
Cramlington
NE23 8JB
CARRIED OUT ON BEHALF OF
Wates
REPORT NUMBER: 24-43246
DATE OF REPORT: 26/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43246
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Wates
Address | Wates House
Station Approach
Leatherhead
Surrey
KT22 7SW
Site Address | 5 Ealing Square
Cramlington
NE23 8JB
Carried Out On | 26/02/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Gas Test & CP12, Alter gas cooker point and temp install gas cook if required

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43246
SECTION 3: Report
PN 26/2/24 CP12 done gas pipe does not need adjusting Electric cooker 1. Soundness/Tightness test gas supply. 2. Complete a visual check to all gas appliances. 3. Complete a gas certificate showing all gas appliances with visual checks only and add comments as work completed testing gas supply only. 4. Take a picture of gas soundness test at 20mb and submit image. 5. Add/submit any additional notes or images you deem necessary such as existing damages, issues, or concerns.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43246
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43246
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43246
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43246
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43246
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes