## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Aged Miners Homes
Fleming Field
Shotton
DH6 2JG
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-43327
DATE OF REPORT: 26/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43327
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 11 Aged Miners Homes
Fleming Field
Shotton
DH6 2JG
Carried Out On | 26/02/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Carry out survey for boiler and pipework replacement and check if all rads in property are working

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43327
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A y Existing Cylinder & Tanks - Y or N/A Existing Flue Run - Y or N/A Existing Controls- Y or N/A y Stop Tap - Y or N/A y Gas Meter- Y or N/A y Distribution Board - Y or N/A y Existing Condensate - Y or N/A New Condensate Termination- Y or N/A Existing PRV Termination - Y or N/A New PRV Termination - Y or N/A Smoke Alarms - Y or N/A 1 in hall out of date Co2 Alarms - Y or y 0329 Existing poor condition radiators – Y or N/A Scaffolding location - Y or N/A na Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – bungalow Existing Loft insulation thickness in mm (Example “200mm”) -250mm Smoke Alarm Locations -hall out of date Co Alarm Location -lounge0329 Distribution Pannel Location -hall Existing heating control location -no thermostat control Existing supply (Natural Gas / LPG / Oil) -natural gas Solar Thermal (Yes / No) no Existing Boiler Make & Model -potterton promax sl Existing Boiler serial number -dne122360018dc Existing Boiler Location -lounge cupboard Existing Boiler Type (Combi / Heat Only / System boiler) -heat only Install Type (Full Heating / Conversion / Boiler Replacement) -conversion New Boiler Location -lounge cupboard Stand off kit required -yes New Flue (Horizontal / Vertical) -vertical Flue Materials Required - 3x extensions 2x 45s Scaffolding required -no Gas Meter location (Internal / External) -external Stop tap location -kitchen - sure stop Stop tap working (Yes / No) -yes Existing condensate termination location -pumped New Condensate termination location -pumped Condensate materials required - Condensate Pump (Yes / No) -yes Pressure relief termination location -below eaves at back of property Number of Bathrooms -1 Number of thermostatic Showers -0 Number of electric Showers -1 Total number of existing radiators -5 Current Cooker (Gas / Electric) -electric Current Fire (Gas / Electric) -gas Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -10mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) - Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15-10mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -none Talon Trunking requirements – Only complete radiators if existing are poor condition or a full heating replacement Radiators in lounge and bedroom getting Luke warm all other radiators are hot

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43327
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43327
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43327
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43327
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43327
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes