## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Temple Forge Mews
Consett
DH8 5RZ
CARRIED OUT ON BEHALF OF
Fortify Solutions
REPORT NUMBER: 24-43343
DATE OF REPORT: 27/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43343
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Fortify Solutions
Address | Fortify Solutions
Consett Business Park
Unit 79 View Point
Consett
DH8 6BN
Site Address | 7 Temple Forge Mews
Consett
DH8 5RZ
Carried Out On | 27/02/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Gas pipe alteration

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43343
SECTION 3: Report
PN 27/2/24 Hob isolated from gas supply as drop on air test after hob isolation valve No gas on meter Air test ok after hob removed from gas supply

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43343
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes