## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eldon Court
Eldon Street
Wasllsend
NE28 6SF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-43346
DATE OF REPORT: 27/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43346
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Eldon Court
Eldon Street
Wasllsend
NE28 6SF
Carried Out On | 27/02/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
All 3 boilers showing errors and also showing fault on Hot Water - please attend today - a few of the residents are reporting no heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43346
SECTION 3: Report
RB- 27/02/24. Boilers all reset and so did hot water cylinder. Further inspection required on pressurisation unit as is reading 3 bar pressure. Prv passing also.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes