## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Langley House ( Communal )
Langley Close
Redcar
TS10 4JF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-43438
DATE OF REPORT: 01/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43438
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Langley House ( Communal )
Langley Close
Redcar
TS10 4JF
Carried Out On | 29/02/2024, 01/03/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
All flat and communal area heating has gone off Front Door Access - Press "Code" - Enter "5012" - Press "Call" - Door will open. Once inside there is a key safe on the wall to the left. Mechanical Code is 2105 (which is the reverse of the Door Access Code). CALL GRAHAM ON SITE.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43438
SECTION 3: Report
PS 29-02-24 Both boilers off in the plant room. Must have gone of recently as the communal area room was warm. Boiler 1 keeps going to ignition lockout when you try to fire it up (Fault 58) and Boiler 2 is asking to be configured. Plugged in thr HW immersions to give the flats hot water and spoken to Graham who is going to attend first thing tomorrow.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43438
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43438
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43438
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43438
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43438
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes