## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Woodlea Crescent
Hexham
NE46 1EB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-43443
DATE OF REPORT: 01/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43443
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 18 Woodlea Crescent
Hexham
NE46 1EB
Carried Out On | 29/02/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Boiler frequently loosing pressure

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43443
SECTION 3: Report
RB- 29/02/2024 - when arriving on site tenant said that heating wasn’t coming on. After inspection and putting the boiler into service mode to prove that it does fire I turned to the thermostat. The receiver was getting the signal that the stat was calling for heat but the boiler was getting nothing from the receiver. When I looked the casing on the receiver was not pushed on all the way. After doing this the connection was restored and boiler was firing again. 2.5 hours spent

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43443
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43443
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43443
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43443
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43443
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes