## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Elms ( Communal Area )
Chester Le Street
County Durham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-43463
DATE OF REPORT: 13/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43463
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | The Elms ( Communal Area )
Chester Le Street
County Durham
DH2 3EJ
Carried Out On | 01/03/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
No heating in staff base and communal entrance (extremely cold overnight for night staff)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43463
SECTION 3: Report
Ct 1/3/24 Attended site 3 amp fuse tripped on fuse spur replaced and tested all actuators and thermostats. There is one loop I can’t find thermostat for that operates 2 legs there is a dead thermostat opposite staff room no power to it. The wire has been disconnected by someone won’t reconnecting case it’s off for a reason I.e break in wire. Rest of circuit on and operating this must been off a while as I haven’t done it and graham doesn’t know anything about it. Also attended flat 44 manger is going to raise a new job for it

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43463
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43463
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43463
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43463
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43463
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes