## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eldon Court
Eldon Street
Wallsend
NE28 6SF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-43558
DATE OF REPORT: 12/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43558
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Eldon Court
Eldon Street
Wallsend
NE28 6SF
Carried Out On | 05/03/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
Plant Room - Boilers 1 & 2 Showing faults and building has no heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43558
SECTION 3: Report
Both boilers had locked out on e133 had to replace 2 x flame probes and 1 spark electrode these were used from vehicle stock Hamworthy fleet

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43558
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43558
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43558
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43558
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43558
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes