## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Moorcroft Drive
Dudley
NE23 7FF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-43562
DATE OF REPORT: 12/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43562
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Moorcroft Drive
Dudley
NE23 7FF
Carried Out On | 05/03/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Panel in Plant Room which has a red Fail Light on the DHW Secondary Pump- HSO number if needed 01916436762

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43562
SECTION 3: Report
Ct 5/3/24 Reset sensors and checked dhw secondary return pump running and hot water on site. Waited and made sure fault hadn’t come back on.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43562
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43562
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43562
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43562
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43562
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes