## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 Park Terrace
Swallwell
Newcaste Upon Tyne
NE16 3BU
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-43586
DATE OF REPORT: 13/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43586
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 20 Park Terrace
Swallwell
Newcaste Upon Tyne
NE16 3BU
Carried Out On | 12/03/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for boiler replacement - resident has mentioned that he would like his boiler moved to a different location in the kitchen, please survey for this also

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43586
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks -N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y o Existing poor condition radiators – Y Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –FLAT Existing Loft insulation thickness in mm (Example “200mm”) - Smoke Alarm Locations -KITCHEN /HALL Co Alarm Location -KITCHEN Distribution Pannel Location - Existing heating control location -KITCHEN Existing supply (Natural Gas / LPG / Oil) -NATURAL GAS Solar Thermal (Yes / No)NO Existing Boiler Make & Model -POTTERTON PROMAX Existing Boiler serial number -NO SERIAL NUMBER VISABLE Existing Boiler Location -KITCHEN Existing Boiler Type (Combi / Heat Only / System boiler) -COMBI Install Type (Full Heating / Conversion / Boiler Replacement) -boiler replacement New Boiler Location -KITCHEN Stand off kit required -NO New Flue (Horizontal / Vertical) -HORIZONTAL Flue Materials Required -HORIZONTAL FLUE Scaffolding required -NA Gas Meter location (Internal / External) -INTERNAL Stop tap location -KITCHEN Stop tap working (Yes / No) - Existing condensate termination location INTERNAL TO KITCHEN New Condensate termination location -INTERNAL TO KITCHEN SINK Condensate materials required -21MM PIPE, OVERFLOW ELBOWS Condensate Pump (Yes / No) -NO Pressure relief termination location -EXTERNAL BACK YARD Number of Bathrooms -1 Number of thermostatic Showers -0 Number of electric Showers -1 Total number of existing radiators -6 Current Cooker (Gas / Electric) -ELECTRIC Current Fire (Gas / Electric) -ELECTRIC Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15MM Existing Pipework type (Copper / Speed fit / Hep) -COPPER Is Speed fit / Hep Barrier protected (Yes / No) -NA Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) -YES Talon Trunking requirements –NA Only complete radiators if existing are poor condition or a full heating replacement

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43586
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes