## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eldon Court ( Flat 29 )
Clavering Street
Willington Quay
NE28 6SW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-43646
DATE OF REPORT: 12/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43646
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Eldon Court ( Flat 29 )
Clavering Street
Willington Quay
NE28 6SW
Carried Out On | 07/03/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
no hot water in Flat - the water in the bathroom is white/cloudy - and when the tenant turns the tap on in the kitchen the water in the shower turns off - hso has said there is a fault showing on boiler 3 in the plant room

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43646
SECTION 3: Report
Ct 7/3/24 Isolation valve in cupboard has been knocked and nearly closed on cold water when putting stuff back in cupboard re opened and water back to normal temp on taps and water stays on in shower when flushing toilet or running tap

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes