## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Feetham Court ( Flat 12 )
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-43650
DATE OF REPORT: 12/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43650
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Feetham Court ( Flat 12 )
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
Carried Out On | 07/03/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Flat 12 - water meter leaking above ceiling - Tiles in hall cupboard. Water meter needs removing as leaking

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43650
SECTION 3: Report
Ct 7/3/24 Leak on hot water meter. 22mm pipe cut out and pipes up solid. Tested and no more leaks. Materials used 1m 22mm copper 1x xpress 22mm con 1x xpress 22mm slip con

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43650
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43650
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43650
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43650
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43650
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes