## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Park Terrace
Swallwell
Newcaste Upon Tyne
NE16 3BU
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-43785
DATE OF REPORT: 10/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43785
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 24 Park Terrace
Swallwell
Newcaste Upon Tyne
NE16 3BU
Carried Out On | 12/03/2024, 10/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43785
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A YES Existing Cylinder & Tanks - NA Existing Flue Run - YES Existing Controls- YES Stop Tap - YES Gas Meter- YES Distribution Board - YES Existing Condensate - YES New Condensate Termination- N/A Existing PRV Termination - YES New PRV Termination - N/A Smoke Alarms - YES Co2 Alarms - YES Existing poor condition radiators – YES Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –GROUND FLOOR FLAT Existing Loft insulation thickness in mm (Example “200mm”) - Smoke Alarm Locations -HALL /KITCHEN Co Alarm Location -LIVINGROOM Distribution Pannel Location -HALL Existing heating control location -LIVINGROOM /HALL Existing supply (Natural Gas / LPG / Oil) -NATURAL GAS Solar Thermal (Yes / No)NO Existing Boiler Make & Model -POTTERTON PROMAX COMBI Existing Boiler serial number -AWA062546112AB Existing Boiler Location -LIVINGROOM Existing Boiler Type (Combi / Heat Only / System boiler) -COMBI Install Type (Full Heating / Conversion / Boiler Replacement) -FULL HEATING New Boiler Location -SAME AS CURRENT BOILER Stand off kit required -NO New Flue (Horizontal / Vertical) -HORIZONTAL Flue Materials Required -EXTENSIONS X 4 I METER LENGTHS AND HORIZONTAL FLUE KIT 4 X FLUE CLIPS Scaffolding required -NO Gas Meter location (Internal / External) -INTERNAL HALL Stop tap location -KITCHEN Stop tap working (Yes / No) -YES Existing condensate termination location -EXTERNAL New Condensate termination location -EXTERNAL DRAIN Condensate materials required -CONDENSATE PUMP 32MM PIPE AND FITTINGS 21MM PIPE AND FITTINGS Condensate Pump (Yes / No) -YES Pressure relief termination location -EXTERNAL Number of Bathrooms -1 Number of thermostatic Showers -0 Number of electric Showers -0 Total number of existing radiators -5 Current Cooker (Gas / Electric) -ELECTRIC Current Fire (Gas / Electric) -ELECTRIC Valves & Pipework Existing Pipe work size (15mm) - Existing Pipework type (Copper) - Is Speed fit / Hep Barrier protected (Yes / No) -NA Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) -YES Talon Trunking requirements –NO Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1140X540 Room Length x Width x Height (In meters) -3X4.2X2.7 Max New size if applicable - Existing Kitchen Rad Size -740 X 700 Room Length x Width x Height (In meters) -3.X1.6X2.7 Max New size if applicable - Existing Hall Rad Size -700X700 Room Length x Width x Height (In meters) -3.8X0.8X2.7 Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size -740X540 Room Length x Width x Height (In meters) -3.1X2X2.7 Max New size if applicable - Existing Bed 1 Rad Size -1140X540 Room Length x Width x Height (In meters) -4.1X4.1X2.7 Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43785
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43785
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43785
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43785
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43785
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes