## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
32 Park Terrace
Swallwell
Newcaste Upon Tyne
NE16 3BU
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-43786
DATE OF REPORT: 03/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43786
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 32 Park Terrace
Swallwell
Newcaste Upon Tyne
NE16 3BU
Carried Out On | 12/03/2024, 03/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43786
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A yes Existing Cylinder & Tanks - Y or N/A not required Existing Flue Run - Y or N/A YES Existing Controls- Y or N/A YES Stop Tap - Y or N/A NOT ACCESIBLE WITHOUT SCREWDRIVER Gas Meter- Y or N/A YES Distribution Board - Y or N/A YES Existing Condensate - Y or N/A YES New Condensate Termination- Y or N/A SAME AS OLD POSITION Existing PRV Termination - Y or N/A YES New PRV Termination - Y or N/A SAME AS OLD POSITION Smoke Alarms - Y or N/A YES Co2 Alarms - Y or N/A YES Existing poor condition radiators – Y or N/A YES Scaffolding location - Y or N/A NOT REQUIRED Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – FLAT Existing Loft insulation thickness in mm (Example “200mm”) - NA Smoke Alarm Locations -KITCHEN AND HALL Co Alarm Location -KITCHEN AND HALL Distribution Pannel Location -FRONT HALLWAY Existing heating control location - LIVING ROOM Existing supply (Natural Gas / LPG / Oil) -NATURAL GAS Solar Thermal (Yes / No)NO Existing Boiler Make & Model -POTTERTON PROMAX COMBI Existing Boiler serial number -AWA0641 all that was visible Existing Boiler Location -kitchen Existing Boiler Type (Combi / Heat Only / System boiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) -FULL HEATING New Boiler Location -SAME LOCATION Stand off kit required - NO New Flue (Horizontal / Vertical) -HORIZONTAL Flue Materials Required -HRZ FLUE Scaffolding required -NO Gas Meter location (Internal / External) -INTERNAL Stop tap location -KITCHEN SIDE CUPBOARD Stop tap working (Yes / No) -YES Existing condensate termination location -EXTERNAL DRAIN New Condensate termination location -SAME AS EXSISTING POSITION Condensate materials required -32MM PIPE AND FITTINGS AND OVERFLOW PIPE AND FITTINGS Condensate Pump (Yes / No) -NO Pressure relief termination location -EXTERNAL Number of Bathrooms -1 Number of thermostatic Showers -NONE Number of electric Showers -NONE Total number of existing radiators -6 Current Cooker (Gas / Electric) -GAS Current Fire (Gas / Electric) -ELECTRIC Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15MM Existing Pipework type (Copper / Speed fit / Hep) -COPPER Is Speed fit / Hep Barrier protected (Yes / No) -NO Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) -YES Talon Trunking requirements –NOT REQUIRED ALL PIPE WORK UNDER FLOOR Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1150 X 600 DOUBLE Room Length x Width x Height (In meters) - 4.5 X 3.1 X 2.8 Max New size if applicable - Existing Kitchen Rad Size -940 X 700 SINGLE Room Length x Width x Height (In meters) -2.8 X 1.6 X 2.8 Max New size if applicable - Existing Hall Rad Size - 700 X 540 SINGLE Room Length x Width x Height (In meters) - 4.00 X 0,7 X 2.8 Max New size if applicable - Existing Bathroom Rad Size - 700 X 540 SINGLE Room Length x Width x Height (In meters) -3.2 X2.0 X 2.8 Max New size if applicable - Existing Bed 1 Rad Size -1150 X 700 DOUBLE Room Length x Width x Height (In meters) - 3.7 X3.9 X 2.8 Max New size if applicable - Any Other notes DOWN STAIRS FLAT SO PIPE WORK TO RUN LOW LEVEL IN KITCHEN BEHIND KITCHEN UNITS TO LIVING ROOM THEN UNDER THE FLOOR TO ALL OTHER ROOMS TENANT HAS LAMINATE FLOORING IN THE LIVING ROOM AND ISNT KEEN TO TAKE UP UNLESS IT WILL BE REPLACED IS IT POSSIBLE TO JUST CHANGE RADIATORS AND NOT PIPEWORK ?

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43786
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43786
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43786
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43786
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43786
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes