## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Guisborough Drive
North Shields
NE29 8BT
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-43788
DATE OF REPORT: 15/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43788
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 12 Guisborough Drive
North Shields
NE29 8BT
Carried Out On | 11/03/2024, 15/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43788
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- N/A Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y o Co2 Alarms - Y Existing poor condition radiators – Y Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –HOUSE Existing Loft insulation thickness in mm (Example “200mm”) -150MM Smoke Alarm Locations -HALL Co Alarm Location -KITCHEN Distribution Pannel Location -UNDER STAIRS Existing heating control locaEXTERNAL WALLtion -KITCHEN Existing supply (Natural Gas / LPG / Oil) -NATURAL GAS Solar Thermal (Yes / No)NO Existing Boiler Make & Model -POTTERTON PROMAXCOMBI Existing Boiler serial number -AWA082710033BC Existing Boiler Location -KITCHEN Existing Boiler Type (Combi / Heat Only / System boiler) -COMBI Install Type (Full Heating / Conversion / Boiler Replacement) -BOILER REPLACEMENT New Boiler Location -KITCHEN Stand off kit required -YES New Flue (Horizontal / Vertical) -HORIZOTAL Flue Materials Required -HORIZONTAL FLUE Scaffolding required -NO Gas Meter location (Internal / External) -KITCHE CUPBOARD Stop tap location -KITCHEN Stop tap working (Yes / No) YES- Existing condensate termination location -INTERNAL TO SINK WASTE New Condensate termination location -SAMEPOSITION Condensate materials required -21MM OVERFLOW FITTINGS AND PIPE AND CLAMP Condensate Pump (Yes / No) -NO Pressure relief termination location -SAME POSITION Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -7 Current Cooker (Gas / Electric) -GAS Current Fire (Gas / Electric) –ELECTRIC Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15MM Existing Pipework type (Copper / Speed fit / Hep) -COPPER Is Speed fit / Hep Barrier protected (Yes / No) -NO Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) -YES Talon Trunking requirements –NA Only complete radiators if existing are poor condition or a full heating replacement BATHROOM RADIATOR 1000MM X 600MM SINGLE PANEL RUSTED CUSTOMER REQUESTED A REPLACEMENT

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43788
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes