## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Langley House ( Flat 8 )
Langley Close
Redcar
TS10 4JF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-43804
DATE OF REPORT: 12/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43804
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Langley House ( Flat 8 )
Langley Close
Redcar
TS10 4JF
Carried Out On | 09/03/2024
Survey Completed By | Jason White
SECTION 2: Introduction
No Heating / Hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43804
SECTION 3: Report
Jw 9-3-24 3 port failed removed actuator head and opted manually set flow rate to 65 Power switch on Bms not connected

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43804
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43804
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43804
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43804
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43804
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes