## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Holborn House ( Flat 10 )
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-43817
DATE OF REPORT: 29/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43817
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Holborn House ( Flat 10 )
Commercial Road
South Shields
NE33 1EA
Carried Out On | 11/03/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
To change plate heat exchanger, tenant is asking if tmvs can be removed also

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43817
SECTION 3: Report
Ct 11/3/24 Replaced old plate heat exchanger as previous plumber on call has apparently told him he should be getting 55 degrees at kitchen and only getting 47. Fitted new plate and still only getting 48 degrees. Read manual on unit at 58 degrees if boilers are set at 75 degrees the boilers where set at 65 in plant room. Flow heading into building 60 so of course they is no chance of the plate transferring 6degrees cold water to 55 degrees. Bathroom tmv runs at 42.8 but takes a while to come through tenant also says this is not hot enough. Photos sent Materials Plate heat exchanger Nick Heede 13/03/2024 - Should a tenant wish for a TMV to be removed a formal instruction will need to be sent from Karbon Homes requesting this to be completed.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43817
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43817
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43817
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43817
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43817
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes