## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Wreigh Burn Fields
Thropton
Morpeth
NE65 7LP
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-43925
DATE OF REPORT: 12/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43925
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 Wreigh Burn Fields
Thropton
Morpeth
NE65 7LP
Carried Out On | 11/03/2024
Survey Completed By | Phillip Rogerson
SECTION 2: Introduction
No water since last thursday CTC boiler. Elderly customer

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43925
SECTION 3: Report
11/3/24 PR CTC heat pump Error E014 on controller board ( comm error Exspansion ) Alarm reset and DHW pump runs but error returns after a couple of minutes. Zone valve operating ok. FOW required for further investigation.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43925
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43925
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43925
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43925
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43925
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes