## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Ford Court
Berwick
TD15 1HQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-43980
DATE OF REPORT: 19/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-43980
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 Ford Court
Berwick
TD15 1HQ
Carried Out On | 19/03/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Bathroom install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-43980
SECTION 3: Report
PN 19/3/24 Bathroom done Toilet put on temporary stand untill karbon get a riser for toilet or one that has a higher outlet 1st fix complete – 2nd fix complete – Any other works complete – Any Gas works completed – Soundness/Tightness test gas supply – If gas pipe altered or installed complete CP12 including full regulation 26.9 checks. (Operating Pressure, Heat Input, Flue Gas Analysis or flue checks) If no Gas pipe altered Complete a gas certificate showing all gas appliances with visual checks only and add comments as work completed testing gas supply only – Take a picture of gas soundness test at 20mb and submit image – Add/submit any additional notes or images you deem necessary such as existing damages, issues, or concerns – Submitted Images of before during and completed works, such as before a 1 st fix, the actual first fix then 2 nd fix or completed works. Any Follow-on Works required – Give as much information as possible.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-43980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-43980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes