## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Tynedale Grange
Haltwhistle
Northumberland
NE49 9LF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-44007
DATE OF REPORT: 29/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44007
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Tynedale Grange
Haltwhistle
Northumberland
NE49 9LF
Carried Out On | 12/03/2024, 28/03/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
Following the recent CP15 replacement flure required - 'Carried out the annual gas safety cp15 to 2 x ideal evomax 100 boilers. Boiler 2 has been isolated due to the inner flue been rotted away. A new open flue kit has been sourced and ordered from consett Wolsey'

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44007
SECTION 3: Report
Carried out the annual gas safety cp15 to 2 x ideal evomax boilers and replaced inner and outer open flue kit to boiler 2

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44007
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes