## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
162 Albert road (Flat 4)
Jarrow
NE32 5RR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-44089
DATE OF REPORT: 29/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44089
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 162 Albert road (Flat 4)
Jarrow
NE32 5RR
Carried Out On | 13/03/2024, 22/03/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
no heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44089
SECTION 3: Report
Ct 13/3-24 Checked boilers in plant room working fine. Opened zone valves manually heat coming through. No lights on two way Chanel programmer removed and checked had power coming which it does. Rang all suppliers for one in stock none in ordered with ashington crosslings as concerned wiring may need altered changing make and model. Offered to put zone valves in manual but warned of constant heat says he fine with electric shower and flat not 2 cold Fow fit new programmer. Ct 23/3/24 Told Graham has attened.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes