## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Aged Miners Homes
Boldon Colliery
NE35 9JE
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-44329
DATE OF REPORT: 20/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44329
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 4 Aged Miners Homes
Boldon Colliery
NE35 9JE
Carried Out On | 20/03/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44329
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A y Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – N/A Scaffolding location - Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –bungalow Existing Loft insulation thickness in mm (Example “200mm”) -250mm Smoke Alarm Locations -hall Co Alarm Location -kitchen Distribution Pannel Location -hall Existing heating control location -hall Existing supply (Natural Gas / LPG / Oil) -nat gas Solar Thermal (Yes / No) NO Existing Boiler Make & Model -POTTERTON PROMAX 28 COMBI Existing Boiler serial number -A8C23600229 Existing Boiler Location -KITCHEN Existing Boiler Type (Combi / Heat Only / System boiler) -COMBI Install Type (Full Heating / Conversion / Boiler Replacement) -FULL HEATING New Boiler Location -AS EXSISTING Stand off kit required -NO New Flue (Horizontal / Vertical) -HORIZONTAL Flue Materials Required -HORIZONTAL FLUE Scaffolding required -NA Gas Meter location (Internal / External) -EXTERNAL Stop tap location -KITCHEN Stop tap working (Yes / No) -YES Existing condensate termination location -EXTERNAL TO DRAIN New Condensate termination location -SAME POSITION UPGRADE THROUGH WALL 32MM Condensate materials required -32 MM PIPE Condensate Pump (Yes / No) -NO Pressure relief termination location -EXTERNAL Number of Bathrooms -1 Number of thermostatic Showers -NA Number of electric Showers -1 Total number of existing radiators -6 Current Cooker (Gas / Electric) -ELECTRIC Current Fire (Gas / Electric) -ELECTRIC Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15MM Existing Pipework type (Copper / Speed fit / Hep) -COPPER AND SPEEDFIT Is Speed fit / Hep Barrier protected (Yes / No) -NA Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15MM KITCHEN RAD 10MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) -YES Talon Trunking requirements –YES 12 X 3METER LENGTHS CORNER CAPS AND CAP ENDS Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1200 X 600 Room Length x Width x Height (In meters) -4.6X4.2X2.4 Max New size if applicable -1200 LENGTH X600 DOUBLE Existing Kitchen Rad Size -800 LENGTH X600 DOUBLE Room Length x Width x Height (In meters) -3.1 X 2.2 X 2.4 Max New size if applicable -800 L X 600 W DOUBLE Existing Hall Rad Size -800X 600 Room Length x Width x Height (In meters) -2,9 X 1.8X 2.4 Max New size if applicable -800 X600 DOUBLE Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size 1500 X600 TOWEL RAIL Room Length x Width x Height (In meters) -2.4 X2.0X 2.4 Max New size if applicable -600 X600 DOUBLE Existing Bed 1 Rad Size -1200 X 600 DOUBLE Room Length x Width x Height (In meters) -3.1X3.9X2.4 Max New size if applicable -1200 LENGTH X 600 DOUBLE Existing Bed 2 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 3 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - CONSEVATORY Room Length x Width x Height (In meters) - 3.7X 2.3X2.4 Max New size if applicable -1200 X 600 DOUBLE MAY NEED TO TEE IN TO OLD PIPE WORK TO BE ABLE TO ACCESS RADIATOR Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44329
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44329
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44329
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44329
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44329
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes