## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Bavington
Gateshead
NE10 8LB
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-44432
DATE OF REPORT: 10/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44432
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 18 Bavington
Gateshead
NE10 8LB
Carried Out On | 19/04/2024, , 10/05/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44432
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y o Existing Cylinder & Tanks - Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – Y Scaffolding location - Y Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –house Existing Loft insulation thickness in mm (Example “200mm”) - Smoke Alarm Locations -hall Co Alarm Location -hall Distribution Pannel Location -hall Existing heating control location -hall Existing supply (Natural Gas / LPG / Oil) -natural gas Solar Thermal (Yes / No)no Existing Boiler Make & Model -ravenheat avanta Existing Boiler serial number -na Existing Boiler Location -bedroom cupboard Existing Boiler Type (Combi / Heat Only / System cboiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) -boiler only New Boiler Location -same position Stand off kit required -no New Flue (Horizontal / Vertical) -horizontal Flue Materials Required -horizontal Scaffolding required -no Gas Meter location (Internal / External) -internal Stop tap location -kitchen Stop tap working (Yes / No) -yes Existing condensate termination location -external New Condensate termination location -external Condensate materials required -32 mm pipe Condensate Pump (Yes / No) -no Pressure relief termination location -external Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -p Total number of existing radiators -8 Current Cooker (Gas / Electric) -electric Current Fire (Gas / Electric) -electrical

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44432
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes