## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Denesyde
Consett
County Durham
DH8 6PX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-44471
DATE OF REPORT: 23/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44471
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 18 Denesyde
Consett
County Durham
DH8 6PX
Carried Out On | 23/04/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Planned survey for boiler replacement, survey for rads if rusty/faulty

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44471
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler (Y or N/A) - Y Existing Cylinder & Tanks (Y or N/A) - n/a Existing Flue Run (Y or N/A) - Y Existing Controls (Y or N/A) - Y Stop Tap (Y or N/A) - Y Gas Meter (Y or N/A) - Y Distribution Board (Y or N/A) - Y Existing Condensate (Y or N/A) - Y New Condensate Termination (Y or N/A) - Y Existing PRV Termination (Y or N/A) - Y New PRV Termination (Y or N/A) - Y Smoke Alarms (Y or N/A) - Y Co2 Alarms (Y or N/A) - Y Existing poor condition radiators (Y or N/A) - Y Scaffolding location (Y or N/A) - n/a Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –bungalow Existing Loft insulation thickness in mm (Example “200mm”) -250 Smoke Alarm Locations -hall, kitchen, lounge Co Alarm Location - kitchen Distribution Pannel Location -hall Existing heating control location -hall Existing supply (Natural Gas / LPG / Oil) - NG Solar Thermal (Yes / No) -no Existing Boiler Make & Model - Vaillant Ecotec Pro 28 Existing Boiler serial number - 211142308511 Existing Boiler Location -kitchen Existing Boiler Type (Combi / Heat Only / System boiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) -combi swap New Boiler Location -kitchen Stand off kit required -yes New Flue (Horizontal / Vertical) -horizontal Flue Materials Required -standard Scaffolding required -no Gas Meter location (Internal / External) -external, side Stop tap location -under sink Stop tap working (Yes / No) -yes Existing condensate termination location -under sink New condensate termination location -under sink Condensate materials required - none Condensate Pump (Yes / No) -no Existing pressure relief termination location - external rear New pressure relief termination location - external rear Number of Bathrooms - 1 Number of thermostatic showers -1 Number of electric Showers - 0 Total number of existing radiators –6 Does all existing radiators work -yes Does all hot water outlets work -yes Current Cooker (Gas / Electric) -electric Current Fire (Gas / Electric) -none Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 10mm Existing Pipework type (Copper / Speed fit / Hep) - hep Is Speed fit / Hep Barrier protected (Yes / No) - yes Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 10mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) - yes, porch. Talon Trunking requirements - none Only complete radiators for the following reasons 1. Existing heating system in 8mm pipework 2. Existing system in plastic NONE BARRIIER PROTECTED 3. Full Heating Replacement 4. Damaged or Rusted Radiator Radiators Existing Lounge Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Kitchen Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Hall Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 1 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 2 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 3 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44471
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44471
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44471
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44471
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44471
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes