## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Moorcroft ( Flat 16 )
Bowman Drive
Dudley
NE23 7FF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-44473
DATE OF REPORT: 05/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44473
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Moorcroft ( Flat 16 )
Bowman Drive
Dudley
NE23 7FF
Carried Out On | 21/03/2024, , 04/04/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
No heating in flat - the thermostat is brokenAfter speaking to HSO only issue appears to be with bedroom radiator.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44473
SECTION 3: Report
Ct 21/3/24 Attendees on way home as asked but had call outs in Durham first. No answer not sure if it’s because of time. No answer on door or intercom Ct 4/4/24 No access gained till 8:20 Thermostat and trv working correctly motorised head working noticed on arrival that radiators where hot tenant had just getting out of bed and not turned up so checked motorised head was closed. But heat passing through zone valve. I have replaced 22mm zone valve as seems to be passing and heating radiators up during night. Isolated from Communal circuit and isolated electrics stripped out replaced turned back on to communal heating and turned electrics and checked opening and closing on demand. Materials 22mm Honeywell zone valve

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44473
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44473
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44473
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44473
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44473
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes