## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 West Avenue
Chester Moor
Chester-le-Street
DH2 3RS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-44535
DATE OF REPORT: 25/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44535
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 16 West Avenue
Chester Moor
Chester-le-Street
DH2 3RS
Carried Out On | 25/03/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
CODETECT CO Detector Service 1 2 CODETECT CO Detector Service 1 2 GSBOIL Domestic Gas Boiler Service 1 45 HEATDET Heat Detector 1 2 SMOKDET Smoke Alarm Service 1 2 SMOKDET Smoke Alarm Service 1 2 SMOKDET Smoke Alarm Service 1 2 SMOKDET Smoke Alarm Service 1 2 SMOKDET Smoke Alarm Service 1 2

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44535
SECTION 3: Report
PN 25/3/23 Service complete Condensate hose replaced 3 way valve replaced Pressure switch replaced

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44535
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44535
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44535
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44535
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44535
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes