## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 John Taylor Court
Southwick
Sunderland
SR5 2PX
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-44552
DATE OF REPORT: 24/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44552
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 5 John Taylor Court
Southwick
Sunderland
SR5 2PX
Carried Out On | 24/03/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Leaking condensate pump

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44552
SECTION 3: Report
PN 24/3/24 Leaking from condensate joint Applied glue to joint as have no spare pipe on van to replace PN 24/3/24 Re attending job as still leaking Start time 15:36 End time 17:46 Replaced old condensate pipe from pump to loft Poured water into pump to check for leaks No visible leaks

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44552
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44552
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44552
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44552
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44552
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes