## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Fox Court
Harrogate
HG1 4LZ
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-44598
DATE OF REPORT: 27/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44598
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 3 Fox Court
Harrogate
HG1 4LZ
Carried Out On | 27/03/2024
Survey Completed By | Matthew Wall
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44598
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – Y Scaffolding location - na Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –flat Existing Loft insulation thickness in mm (Example “200mm”) - fibre glass 250mm Smoke Alarm Locations -hall Co Alarm Location -hall Distribution Pannel Location - bottom of stairs entrance Existing heating control location - hall Existing supply (Natural Gas / LPG / Oil) Natural Gas Solar Thermal (Yes / No) no Existing Boiler Make & Model potterton he plus Existing Boiler serial number awa3458990 Existing Boiler Location -kitchen Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) -full heating New Boiler Location - same Stand off kit required - yes New Flue (Horizontal / Vertical) -horzintol Flue Materials Required - na Scaffolding required -no Gas Meter location (Internal / External) -external Stop tap location -kitchen Stop tap working (Yes / No) -yes Existing condensate termination location -internal New Condensate termination location -same Condensate materials required - na Condensate Pump (Yes / No) -no Pressure relief termination location - same Number of Bathrooms - 1 Number of thermostatic Showers - 1 Number of electric Showers -0 Total number of existing radiators - 6 Current Cooker (Gas / Electric) - gas Current Fire (Gas / Electric) -none Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 10mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - no Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 10mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements – na Only complete radiators if existing are poor condition or a full heating replacement Radiators Kitchen Room size 2.4x 4.1x 2.3m Rad size 600 x 700 Single Max Rad 600 x 700 dpx Hall Room size 1m x 5.5 x 2.3m Radiator size 500 x 500 Single Max Rad 500 x 700 dpx Lounge 3.3m 3.7mx 2.3m room. Size 1300 x 400 Single Rad size 1300x 450 dpx max radiator size Bathroom 2.2 x 2m x 2.3m room size Rad size 700 x 500 Single Max Rad 700 x 700 dpx Bedroom 1 2.5m x 4.1m x 2.3m room size 1100 x 400 Single Rad size 1100 x 700 dpx Max size Bedroom 2 3.1m x 2.1mx 2.3m room size 700 x 400 Single radiators size 700 x 700 dpx Max size Windows W x H 1700 1300 lounge 880 1000 bed 2 1800 1000 bed 1 900 1000 w c 900 1000 kitchen

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44598
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44598
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44598
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44598
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44598
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes