## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Fox Court
Harrogate
HG1 4LZ
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-44601
DATE OF REPORT: 27/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44601
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 9 Fox Court
Harrogate
HG1 4LZ
Carried Out On | 27/03/2024
Survey Completed By | Matthew Wall
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44601
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - Y Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - none Existing poor condition radiators – Y or /A Scaffolding location - na Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –House Existing Loft insulation thickness in mm (Example “200mm”) -2500 Smoke Alarm Locations - kitchen Co Alarm Location - na Distribution Pannel Location - cupboard near stairs Existing heating control location -hall Existing supply (Natural Gas / LPG / Oil) Natural Gas Solar Thermal (Yes / No) no Existing Boiler Make & Model potterton p He plus Existing Boiler serial number -awa082610527BC Existing Boiler Location -kitchen Existing Boiler Type (Combi / Heat Only / System boiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) - full heating New Boiler Location - kitchen Stand off kit required -yes New Flue (Horizontal / Vertical) horizontal Flue Materials Required -na Scaffolding required -ba Gas Meter location (Internal / External) -external Stop tap location - kitchen Stop tap working (Yes / No) -yes Existing condensate termination location - throughwall New Condensate termination location Internal boss Condensate materials required -na Condensate Pump (Yes / No) -no Pressure relief termination location - through wall Number of Bathrooms -2 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -9 Current Cooker (Gas / Electric) -gas Current Fire (Gas / Electric) -none Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -10mm Existing Pipework type (Copper / Speed fit / Hep) -10mm Is Speed fit / Hep Barrier protected (Yes / No) -none Existing Rad Valve Sizes (8mm / 10mm / 15mm) -10mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –possibly unsure Only complete radiators if existing are poor condition or a full heating replacement Radiators Kitchen Room size w l h 3m x 4m x 2.3 m Rad size 600 x 500 w x h Max Rad 600 x 700 dpx Hall Room size 1.2m x 3.3m x 2.3m Rad size 500 x 500 w x h Max Rad 500 x 700 dpx Downstairs wc Room size 2mx 2mx 2.3m Rad size 500 x 500 w x h Max 500 x 700 dpx Living room 1 Room size 3.2 x 3.8 x 2.3m Rad size 500x 500 wx h Max rad 500 x 700 dpx Living room 2 Rad size 1500 x 400 wx h Max Rad 1500 x 450 dpx Bed 1 Room size 2.4mx 2.5mx 2.3m Rad size 700 x 500 wxh Max 700 x 700 dpx Bed 2 Room size 3.3m× 3.8× 2.3m Rad size 1200 x 500 wx h Max 1200x 500 Bed 3 Room size 2.9m x 3.4m x 2.3m Rad size 1100 x 400 Max Rad size 1100 x 700 dpx Bathroom Room size 2.5 x 2.5mx 2.3m Rad size 600 x 600 wx h Max 600 x 700 dpx

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes