## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Fox Court
Harrogate
HG1 4LZ
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-44602
DATE OF REPORT: 27/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44602
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 4 Fox Court
Harrogate
HG1 4LZ
Carried Out On | 27/03/2024
Survey Completed By | Matthew Wall
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44602
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks -Na Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y or N/A Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Smoke Alarms - Y Co2 Alarms Y Existing poor condition radiators – Y Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –House Existing Loft insulation thickness in mm (Example “200mm”) -250mm Smoke Alarm Locations kitchen Co Alarm Location - kitchen Distribution Pannel Location - Downstairs wc Existing heating control location - hallway Existing supply (Natural Gas / LPG / Oil) -NG Solar Thermal No) Existing Boiler Make & Model -Potterton he plus Existing Boiler serial number -awa141750761lc Existing Boiler Location - kitchen Existing Boiler Type (Combi / Heat Only / System boiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) - full heating New Boiler Location - same Stand off kit required - yes New Flue (Horizontal / Vertical) - horizontal Flue Materials Required - na Scaffolding required -ns Gas Meter location (Internal / External) external Stop tap location - kitchen Stop tap working (Yes / No) - yes Existing condensate termination location - soakway New Condensate termination location -same Condensate materials required - 1 1 /4 Condensate Pump (Yes / No) - no Pressure relief termination location - through wall Number of Bathrooms - 2 Number of thermostatic Showers - 1 Number of electric Showers - na Total number of existing radiators - Current Cooker (Gas / Electric) - electric Current Fire (Gas / Electric) -none Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 10mm upstairs Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - na Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 10m Existing TRVS installed (Yes / No) - tes Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements –none Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size - 1200 450 dpx Room Length x Width x Height (In meters) -3.9mx 3.9 Max New size if applicable -1200 x 500 Existing Kitchen Rad Size - 900 x 500 Room Length x Width x Height (In meters) - 2.5m x 5m x2.3m Max New size if applicable -900 × 600 Hall Exsiting 600 x 600 single 5m x 2.5mx 2.3m room size Max 600 x 800 dpx Downstairs w/c Existing 500 x500 Single 1.5m x 1m x 2.3 m room size Max 500x 500 dpx Bedroom 1 700x 400 Single Existing 2.8mx 2.1m x 2.35m room size 700 x 700 dpx Max size Bedroom 2 700 x 400 Single Existing 2.6m x 4.1m x 2.35m room size 700x 700 dpx Max size Bedroom 3 900 x 400 Single 2.6m x 5m x 2.35m room size 900 x 700 dpx Max size Bathroom 500 x 500 Single 2m x 2m x 2.35m rooms size 500x 700 dpx Max size

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes