## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Fox Court
Harrogate
HG1 4LZ
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-44738
DATE OF REPORT: 28/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44738
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 2 Fox Court
Harrogate
HG1 4LZ
Carried Out On | 27/03/2024
Survey Completed By | Matthew Wall
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44738
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - N/A Existing poor condition radiators – Y Scaffolding location -N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –house Existing Loft insulation thickness in mm (Example “200mm”) -250mm Smoke Alarm Locations - hall landing Co Alarm Location - unable to locate Distribution Pannel Location - under stairs Existing heating control location - wireless hand held Existing supply (Natural Gas / LPG / Oil) Natural Gas Solar Thermal (Yes / No) no Existing Boiler Make & Model ideal logic c30 Existing Boiler serial number -22830800009053 Existing Boiler Location Kitchen Existing Boiler Type (Combi / Heat Only / System boiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) - full heating New Boiler Location - kitchen Stand off kit required -yes New Flue (Horizontal / Vertical) horizontal Flue Materials Required -na Scaffolding required -no Gas Meter location (Internal / External) external Stop tap location kitchen Stop tap working (Yes / No) -yes Existing condensate termination location external New Condensate termination location - internal boss Condensate materials required -na Condensate Pump (Yes / No) -no Pressure relief termination location -through wall Number of Bathrooms - 1 Number of thermostatic Showers -0 Number of electric Showers -1 Total number of existing radiators -7 Current Cooker (Gas / Electric) -elec Current Fire (Gas / Electric) -none Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -10mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) -na Existing Rad Valve Sizes (8mm / 10mm / 15mm) -10mm Existing TRVS installed (Yes / No) -ues Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –possibly Only complete radiators if existing are poor condition Hallway Room size 3.5m 1.8mx 2.3m Rad size 700x 500 Single W X H Max size 700 x 700 dpx Living room Room size 4mx 3.8mx 2.3m Rad size 1100 x 500 double wxh Max Rad size 1100x 600 dpx Kitchen Room size3.2m 3.5m 2.3m Rad size 700x 500 Single Max Rad 700x 700 dpx Bedroom 1 Room size 3m x 3.8m x 2.3m Rad size 1500 x 400 Single Max 1500x 700 dpx Bathroom 2 Room size 1.9x 2.2m 2.3m Rad size 700x 600 Single wx h Max 700 x 700 dpx Bedroom 3 Room size 2.4m 3.1m x 2.3m Rad size 700 x 600 Max rad size 700 x 700 dpx Bathroom Rooms size 2m 2.3m.x 2.3m Rad size 500 x 600 Single wx h Max 500x 700 dpx

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44738
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44738
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44738
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44738
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44738
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes