## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
48 Butler Street West
Bradford
BD3 0BG
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-44766
DATE OF REPORT: 08/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44766
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 48 Butler Street West
Bradford
BD3 0BG
Carried Out On | 28/03/2024, 04/04/2024
Survey Completed By | Matthew Wall
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44766
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – Y Scaffolding location - no Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –house Existing Loft insulation thickness in mm (Example “200mm”) - 250mm Smoke Alarm Locations -hall Co Alarm Location - none Distribution Pannel Location - entrance Existing heating control location - hall Existing supply (Natural Gas / LPG / Oil) - natural gas Solar Thermal (Yes / No)no Existing Boiler Make & Model -alpha Existing Boiler serial number -na damaged Existing Boiler Location - kitchen Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - full heating New Boiler Location - same Stand off kit required - yes New Flue (Horizontal / Vertical) - horizontal Flue Materials Required - na Scaffolding required -no Gas Meter location (Internal / External) external Stop tap location - kitchen Stop tap working (Yes / No) -yes Existing condensate termination location -internal New Condensate termination location - same Condensate materials required -na Condensate Pump (Yes / No) -no Pressure relief termination location - through wall Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -8 Current Cooker (Gas / Electric) -gas Current Fire (Gas / Electric) –none Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -10mm Existing Pipework type (Copper / Speed fit / Hep) -hep Is Speed fit / Hep Barrier protected (Yes / No) -yes Existing Rad Valve Sizes (8mm / 10mm / 15mm) -10mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –na Only complete radiators if existing are poor condition or a full heating replacement Hall Rad size 600 x 600 Max 600 x 700 dpx 1m x 5 m x 2.3m Floor concrete Wc Rad size 400 x 400 Max Rad 500 x 500 dpx Room size 1.5 x 1.5 x 2.3 Floor concrete Kitchen Rad size 700 x 600 Max Rad 700 x 700 dpx Room size 3.6 x 4 x 2.3 Floor concrete Lounge Rad size 2000 x 300 Max Rad 2000x 450 Room size 3.6 x 3.8 x 2.3 Floor concrete Bathroom Rad size 700 x 600 Max 700 x 700 dpx Room size 2.2 x 2.2 x 2.3 Floor boards Room below Bed 1 Rad size 700 x 450 Max Rad 700 x 450 dpx Room size 4.3 x 2.8 x 2.3 Floor boards Room below Bed 2 Rad size 900 x 450 Max Rad size 900 x450 Room size 3m x 6.1 m x 2.3m Floor boards Room below

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44766
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44766
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44766
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44766
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44766
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes