## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Hill Side Road
Bradford
BD3 0BZ
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-44768
DATE OF REPORT: 28/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44768
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 8 Hill Side Road
Bradford
BD3 0BZ
Carried Out On | 28/03/2024
Survey Completed By | Matthew Wall
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44768
SECTION 3: Report
Mandatory Images Required (Must Complete Y Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - none Existing poor condition radiators – N/A Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – house Existing Loft insulation thickness in mm (Example “200mm”) -400mm Smoke Alarm Locations - hall Co Alarm Location - na Distribution Pannel Location - entrance Existing heating control location -yes Existing supply (Natural Gas / LPG / Oil) Natural Gas Solar Thermal (Yes / No) no Existing Boiler Make & Model -ideal logic Existing Boiler serial number -228346007 Existing Boiler Location - kitchen Existing Boiler Type (Combi / Heat Only / System boiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) - full heating New Boiler Location - kitchen Stand off kit required - yes New Flue (Horizontal / Vertical) - horizontal Flue Materials Required -na Scaffolding required -na Gas Meter location (Internal / External) - external external Stop tap location - kitchen Stop tap working (Yes / No) - yes Existing condensate termination location - internal New Condensate termination location - internal Condensate materials required -na Condensate Pump (Yes / No) -no Pressure relief termination location - through wall Number of Bathrooms - 2 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators - 8 Current Cooker (Gas / Electric) - gas Current Fire (Gas / Electric) –none Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -10mm Existing Pipework type (Copper / Speed fit / Hep) - hep Is Speed fit / Hep Barrier protected (Yes / No) - yes Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 10mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements – yes unsure until installation Only complete radiators if existing are poor condition or a full heating replacement Bed 1 Room size 2 x 2.8 x 2.4 Rad size 500 x 500 Single Max size 500 x 600 dpx Bed 2 Room size 2.7 x 4.6 x 2.4 Rad size 600 x 400 Single Max size 600 x 500 dpx Bed 3 Room size 2.4 x 3 x 2.4 Rad 600 x 400 Single Max size 600 x 500 dpx Bathroom Room size 2.1 x 2.6 x 2.4 Rad size 700 500 Single Max size 700 x 700 dpx Hall Room size 1x 4 x 2.4 Rad size 700 x 600 double Max Rad 700 x 700 dpx Lounge Room size 4 x 3.8 x 2.4 Rad size 1400 x 300 double Max Rad 1400 x 450 dpx Kitchen Room size 3.6 x 4.4 x 2.4 Rad 900 x 700 double Max Rad size 900 x 800 dpx Downstairs toilet Room size 1.5x 1.8x 2.4 Rad size 400 x 500 Single Max 400 x 600 dpx

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44768
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44768
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44768
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44768
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44768
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes