## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
66 Chillingham Road
Newcastle upon Tyne
NE6 5BT
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-44770
DATE OF REPORT: 28/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44770
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 66 Chillingham Road
Newcastle upon Tyne
NE6 5BT
Carried Out On | 28/03/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned surey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44770
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A yes Existing Cylinder & Tanks - Y or N/A. Na Existing Flue Run - Y or N/A. Yes Existing Controls- Y or N/A. Yes Stop Tap - Y or N/A not accessible Gas Meter- Y or N/A yes Distribution Board - Y or N/A yes Existing Condensate - Y or N/A yes New Condensate Termination- Y or N/A na Existing PRV Termination - Y or N/A yes New PRV Termination - Y or N/A yes Smoke Alarms - Y or N/A yes Co2 Alarms - Y or N/A yes Existing poor condition radiators – Y or N/A na Scaffolding location - Y or N/A na Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – flat Existing Loft insulation thickness in mm (Example “200mm”) - na Smoke Alarm Locations - hall / kitchen Co Alarm Location - hall kitchen Distribution Pannel Location - bedroom Existing heating control location - Honeywell Existing supply (Natural Gas / LPG / Oil) - natural gas Solar Thermal (Yes / No) no Existing Boiler Make & Model -potterton promax Existing Boiler serial number -awa081010755BC Existing Boiler Location - kitchen Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) -boiler replacement New Boiler Location -kitchen Stand off kit required -no New Flue (Horizontal / Vertical) -horizontal Flue Materials Required -horizontal flue Scaffolding required -no Gas Meter location (Internal / External) -front door Stop tap location -kitchen Stop tap working (Yes / No) -yes Existing condensate termination location -kitchen waste New Condensate termination location -as above Condensate materials required - overflow pipe and elbows and clamp for waste pipe Condensate Pump (Yes / No) -no Pressure relief termination location -kitchen wall Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -6 Current Cooker (Gas / Electric) -gas Current Fire (Gas / Electric) –electric Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) -mo Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –na Only complete radiators if existing are poor condition or a full heating replacement

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44770
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44770
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44770
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44770
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44770
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes