## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
47 Spencer Street
Newcastle upon Tyne
NE6 5BY
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-44773
DATE OF REPORT: 02/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44773
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 47 Spencer Street
Newcastle upon Tyne
NE6 5BY
Carried Out On | 28/03/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for rads and distro

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44773
SECTION 3: Report
Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) -no Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –Tenant does not want trunking Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1150 x 700 double Room Length x Width x Height (In meters) -4.8x4.0x2,8 Max New size if applicable - Existing Kitchen Rad Size -na Room Length x Width x Height (In meters) - Max New size if applicable - Existing Hall Rad Size -540 x 540 Room Length x Width x Height (In meters) -1.3 x 3.4x 2.8 Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size -900 x 700 double Room Length x Width x Height (In meters) -2.5 x 1.7x 2.8 Max New size if applicable - Existing Bed 1 Rad Size -940 x 700 double Room Length x Width x Height (In meters) -3.4 x 2.3x 2.8 Max New size if applicable - Existing Bed 2 Rad Size -1150 x 700 double Room Length x Width x Height (In meters) -4.0 x4.8 x 2.8 Max New size if applicable - Existing Bed 3 Rad Size -940 x 600 double Room Length x Width x Height (In meters) -3.2 x2.4 x2.8 Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) -hall 2 1100 x 530 single Room Length x Width x Height (In meters) -2.4x5.8x2.8 Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes 1st floor flat and tenant doesnt want pipe work in trunking all to be run under floors or just radiators changed instead

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44773
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44773
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44773
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44773
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44773
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes