## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
103 Simonside Terrace
Newcastle upon Tyne
NE6 5LF
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-44774
DATE OF REPORT: 02/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44774
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 103 Simonside Terrace
Newcastle upon Tyne
NE6 5LF
Carried Out On | 16/04/2024, 02/05/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44774
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - NO Existing Flue Run - Y Existing Controls- Stop Tap - Y o Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – Y Scaffolding location - NO Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –FLAT Existing Loft insulation thickness in mm (Example “200mm”) - Smoke Alarm Locations - Co Alarm Location - Distribution Pannel Location - Existing heating control location -KITCHEN Existing supply (Natural Gas / LPG / Oil) -NAT GAS Solar Thermal (Yes / No)NO Existing Boiler Make & Model -POTTERTON PROMAX Existing Boiler serial number -AWA073641053CB Existing Boiler Location -KITCHEN Existing Boiler Type (Combi / Heat Only / System boiler) -COMBI Install Type (Full Heating / Conversion / Boiler Replacement) -FULL HEATING BUT CUSTOMER ONLY REQUIRES BOILER DISCLAIMER SIGNED New Boiler Location -KITCHEN Stand off kit required -NO New Flue (Horizontal / Vertical) -HRZ Flue Materials Required -FLUE ONLY Scaffolding required -NO Gas Meter location (Internal / External) -HALL WAY Stop tap location -Bthroom Stop tap working (Yes / No) -yes Existing condensate termination location -internal waste pipe New Condensate termination location -same route as current Condensate materials required -32mm pipe and fittings Condensate Pump (Yes / No) -no Pressure relief termination location -external Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -8 Current Cooker (Gas / Electric) -electrc Current Fire (Gas / Electric) –electric Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) -NO Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) -YES Talon Trunking requirements –NO Any Other notes LAMINATE THROUGHOUT LIVING ROOM AND HALL AND TENANT DOESNT WANT THIS LIFTED SO SIGNED A DISCLAIMER TO HAVE JUST BOILER ONLY

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44774
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes