## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Woodfield Square
Harrogate
HG1 4LY
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-44828
DATE OF REPORT: 04/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44828
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 18 Woodfield Square
Harrogate
HG1 4LY
Carried Out On | 02/04/2024
Survey Completed By | Matthew Wall
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44828
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - Y Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – N/A Scaffolding location - n/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) house Existing Loft insulation thickness in mm (Example “200mm”) -250mm Fg Smoke Alarm Locations - kitchen Co Alarm Location - none Distribution Pannel Location - Downstairs wc Existing heating control location - hall Existing supply (Natural Gas / LPG / Oil) Natural Gas Solar Thermal (Yes / No) no Existing Boiler Make & Model potterton promax Existing Boiler serial number -AWA141330166LC Existing Boiler Location - kitchen Existing Boiler Type (Combi / Heat Only / System boiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) -full heating New Boiler Location - same Stand off kit required -yes New Flue (Horizontal / Vertical) horizontal Flue Materials Required -na Scaffolding required -no Gas Meter location (Internal / External) -external Stop tap location -kitchen Stop tap working (Yes / No) -yes Existing condensate termination location - external New Condensate termination location - internal kitchen Condensate materials required -na Condensate Pump (Yes / No) -no Pressure relief termination location -throigh wall Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -7 Current Cooker (Gas / Electric) - gas hob Current Fire (Gas / Electric) –none Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -10mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) -no Existing Rad Valve Sizes (8mm / 10mm / 15mm) -10 Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –unsure until installation Only complete radiators if existing are poor condition or a full heating replacement Radiators 18 woodfield Square Kitchen Rad Size: 700x700 Max Rad 700 x700 dpx Room size: 2x3.4x2.3 Hallway Rad size: 700x500 Max 700 x 700 dpx Room size: 3.9x1x2.3 Living room Rad size: 1100x400 Max Rad 1100 x 450 dpx Room size: 4.9x3.3x2.3 Bed1 Rad size: 1500x400 Max Rad 1500 x 450 dpx Room size 2.5x4.8x2.3 Bathroom Rad Size: 500x700 Max 500 x 700 dpx Room size: 2x2.1x2.3 Bed2 Rad size: 700x400 Max Rad 700 x 450 dpx Room size: 2.4x2.5x2.3 Bed3 Rad size: 700x400 Max Rad 700 x 450 dpx Room size 2.4x 2.8x 2.3

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44828
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes