## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Aged Mimers Homes
Shines Row
Country Durham
DH4 7DR
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-44862
DATE OF REPORT: 29/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44862
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 12 Aged Mimers Homes
Shines Row
Country Durham
DH4 7DR
Carried Out On | 29/03/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Job Description - Leak coming from boiler, boiler now flashing F22 low pressure with heating and hot water.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44862
SECTION 3: Report
This boiler requires a new diverter cartradge and cartridge block. Topped boiler up and showed customer how to top up as still leaking so requires part asap. Boiler GC is 47.044.71 Job should have closed at 9:40

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes