## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Conyers
Nettlesworth
DH2 3PE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-44881
DATE OF REPORT: 02/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44881
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 3 Conyers
Nettlesworth
DH2 3PE
Carried Out On | 02/04/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44881
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/Ay Existing Cylinder & Tanks - Y or N/A na Existing Flue Run - Y or N/A y Existing Controls- Y or N/A y Stop Tap - Y or N/A Gas Meter- Y or N/A Distribution Board - Y or N/A Existing Condensate - Y or N/A New Condensate Termination- Y or N/A Existing PRV Termination - Y or N/A New PRV Termination - Y or N/A Smoke Alarms - Y or N/A Co2 Alarms - Y or N/A y Existing poor condition radiators – Y or N/A na Scaffolding location - Y or N/A na Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –house Existing Loft insulation thickness in mm (Example “200mm”) -300mm Smoke Alarm Locations -hall /landing/ lounge Co Alarm Location -bedroom Distribution Pannel Location -kitchen Existing heating control location -hallway Existing supply (Natural Gas / LPG / Oil) -gas Solar Thermal (Yes / No)no Existing Boiler Make & Model -baxi Duotec 28 Existing Boiler serial number -CAC084620673EC Existing Boiler Location -bedroom cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) -boiler replacement New Boiler Location -bedroom cupboard Stand off kit required -no New Flue (Horizontal / Vertical) -vertical Flue Materials Required -3 x extensions 2x 45s Scaffolding required -no Gas Meter location (Internal / External) - Stop tap location -kitchen Stop tap working (Yes / No) -yes Existing condensate termination location -internal New Condensate termination location -internal Condensate materials required - pipe and 90 bends Condensate Pump (Yes / No) -no Pressure relief termination location -front of property Number of Bathrooms -1 Number of thermostatic Showers -0 Number of electric Showers -1 Total number of existing radiators -8 Current Cooker (Gas / Electric) -electric Current Fire (Gas / Electric) –electric Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -10mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) - Existing Rad Valve Sizes (8mm / 10mm / 15mm) -10-15mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –none Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Kitchen Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Hall Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 1 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 2 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 3 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44881
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44881
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44881
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44881
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44881
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes