## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
64 Park Terrace
Swalwell
Newcaste Upon Tyne
NE16 3BU
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-44898
DATE OF REPORT: 03/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44898
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 64 Park Terrace
Swalwell
Newcaste Upon Tyne
NE16 3BU
Carried Out On | 03/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44898
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A YES Existing Cylinder & Tanks - Y or N/A not required Existing Flue Run - Y or N/A YES Existing Controls- Y or N/A YES Stop Tap - Y or N/A NOT ACCESIBLE WITHOUT SCREWDRIVER Gas Meter- Y or N/A YES Distribution Board - Y or N/A YES Existing Condensate - Y or N/A YES New Condensate Termination- Y or N/A SAME AS OLD POSITION Existing PRV Termination - Y or N/A YES New PRV Termination - Y or N/A SAME AS OLD POSITION Smoke Alarms - Y or N/A YES Co2 Alarms - Y or N/A YES Existing poor condition radiators – Y or N/A YES Scaffolding location - Y or N/A NOT REQUIRED Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – FLAT Existing Loft insulation thickness in mm (Example “200mm”) - NA Smoke Alarm Locations -KITCHEN AND HALL Co Alarm Location -KITCHEN AND HALL Distribution Pannel Location -FRONT HALLWAY Existing heating control location - LIVING ROOM/HALL Existing supply (Natural Gas / LPG / Oil) -NATURAL GAS Solar Thermal (Yes / No)NO Existing Boiler Make & Model -POTTERTON PROMAX COMBI Existing Boiler serial number -AWA063745310BB Existing Boiler Location -kitchen Existing Boiler Type (Combi / Heat Only / System boiler) - COMBI Install Type (Full Heating / Conversion / Boiler Replacement) -FULL HEATING New Boiler Location -SAME LOCATION Stand off kit required - NO New Flue (Horizontal / Vertical) -HORIZONTAL Flue Materials Required -HRZ FLUE Scaffolding required -NO Gas Meter location (Internal / External) -INTERNAL Stop tap location -KITCHEN SIDE CUPBOARD Stop tap working (Yes / No) -YES Existing condensate termination location -EXTERNAL DRAIN New Condensate termination location -SAME AS EXSISTING POSITION Condensate materials required -32MM PIPE AND FITTINGS AND OVERFLOW PIPE AND FITTINGS Condensate Pump (Yes / No) -NO Pressure relief termination location -EXTERNAL Number of Bathrooms -1 Number of thermostatic Showers -NONE Number of electric Showers -NONE Total number of existing radiators -6 Current Cooker (Gas / Electric) -ELECTRIC Current Fire (Gas / Electric) -ELECTRIC Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15MM Existing Pipework type (Copper / Speed fit / Hep) -COPPER Is Speed fit / Hep Barrier protected (Yes / No) -NO Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) -YES Talon Trunking requirements –NOT REQUIRED ALL PIPE WORK UNDER FLOOR Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1150 X 600 DOUBLE Room Length x Width x Height (In meters) - 4.3 X 3.2 X 2.8 Max New size if applicable - Existing Kitchen Rad Size -940 X 700 SINGLE Room Length x Width x Height (In meters) -2.8 X 1.7 X 2.8 Max New size if applicable - Existing Hall Rad Size - 700 X 700 SINGLE Room Length x Width x Height (In meters) - 5.00 X 0,7 X 2.8 Max New size if applicable - Existing Bathroom Rad Size - 700 X 540 SINGLE Room Length x Width x Height (In meters) -3.3 X2.1 X 2.8 Max New size if applicable - Existing Bed 1 Rad Size -15500 X 700 DOUBLE Room Length x Width x Height (In meters) - 4.2 X4.1 X 2.8 Max New size if applicable - Any Other notes DOWN STAIRS FLAT SO PIPE WORK TO RUN LOW LEVEL IN KITCHEN BEHIND KITCHEN UNITS TO LIVING ROOM THEN UNDER THE FLOOR TO ALL OTHER ROOMS

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44898
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44898
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44898
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44898
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44898
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes